## Scenarios
numScenarios | 3 | 33.33% | 33.33% | 33.33%

## Conversion rate
Value, [$/€]
Conversion rate | 10.819 | 1.0819

## Cost breakdown NREL
Component | Cost, [$/kWh]
Li-Ion Battery cabinet | 270.22
Interconnection fee | 5.69
EPC/developer net profit | 20.94
EPC overhead | 11.73
Electrical BoS | 44.84
Developer overhead | 23.09
Contingency | 10.95
Battery central inverter | 24.38
Note on B1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 60 MW, 140 MWh

## Investment Cost NREL, USD
Total Cost (4-h System), [$/KWh] | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low Scenario | 1587.252 | 1587.252 | 1784 | 1283.409 | 1211.369 | 1149.738 | 1100.936 | 1052.134 | 1003.332 | 954.528 | 905.742 | 889.861 | 873.98 | 858.084 | 842.204 | 826.34 | 810.443 | 794.563 | 778.682 | 762.802 | 746.905 | 731.025 | 715.161 | 699.281 | 683.384 | 667.503 | 651.623 | 635.742 | 619.845 | 603.965 | 588.102
Mid Scenario | 1587.252 | 1587.252 | 1784 | 1715.502 | 1638.775 | 1436.177 | 1389.718 | 1343.256 | 1296.79 | 1250.32 | 1203.845 | 1185.278 | 1166.712 | 1148.146 | 1129.58 | 1111.016 | 1092.452 | 1073.888 | 1055.326 | 1036.764 | 1018.203 | 999.643 | 981.084 | 962.526 | 943.968 | 925.412 | 906.856 | 888.302 | 869.749 | 851.197 | 832.646
High Scenario | 1587.252 | 1587.252 | 1784 | 1850.08 | 1863.288 | 1836.851 | 1768.061 | 1699.272 | 1630.484 | 1561.697 | 1492.911 | 1482.69 | 1472.468 | 1462.246 | 1452.025 | 1441.803 | 1431.581 | 1421.36 | 1411.138 | 1400.917 | 1390.695 | 1380.473 | 1370.252 | 1360.03 | 1349.808 | 1339.587 | 1329.365 | 1319.143 | 1308.922 | 1298.7 | 1288.478

## Investment Cost NREL, EUR
Total Cost (4-h System), [€/KWh] | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low Scenario | 146.7097 | 146.7097 | 164.8951 | 118.6255 | 111.9668 | 106.2703 | 101.7595 | 97.2487 | 92.738 | 88.227 | 83.7177 | 82.2498 | 80.782 | 79.3127 | 77.8449 | 76.3786 | 74.9092 | 73.4414 | 71.9736 | 70.5058 | 69.0364 | 67.5686 | 66.1023 | 64.6345 | 63.1652 | 61.6973 | 60.2295 | 58.7616 | 57.2923 | 55.8245 | 54.3583
Mid Scenario | 146.7097 | 146.7097 | 164.8951 | 158.5638 | 151.4719 | 132.7458 | 128.4516 | 124.1571 | 119.8623 | 115.5671 | 111.2714 | 109.5552 | 107.8392 | 106.1231 | 104.4071 | 102.6912 | 100.9753 | 99.2595 | 97.5438 | 95.8281 | 94.1125 | 92.397 | 90.6816 | 88.9663 | 87.2509 | 85.5358 | 83.8207 | 82.1057 | 80.3909 | 78.6761 | 76.9615
High Scenario | 146.7097 | 146.7097 | 164.8951 | 171.0029 | 172.2237 | 169.7801 | 163.4219 | 157.0637 | 150.7056 | 144.3476 | 137.9897 | 137.045 | 136.1002 | 135.1554 | 134.2106 | 133.2658 | 132.321 | 131.3763 | 130.4315 | 129.4867 | 128.5419 | 127.5971 | 126.6524 | 125.7076 | 124.7627 | 123.818 | 122.8732 | 121.9284 | 120.9836 | 120.0388 | 119.094

## Investment Cost
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
S, [€/MVA] | 29567.0727 | 29567.0727 | 33232.0625 | 31956.0929 | 30526.8348 | 26752.8721 | 25887.4414 | 25021.9548 | 24156.3937 | 23290.7581 | 22425.0293 | 22079.1663 | 21733.3218 | 21387.4774 | 21041.633 | 20695.8258 | 20350.0186 | 20004.2114 | 19658.4415 | 19312.6716 | 18966.9203 | 18621.1876 | 18275.4736 | 17929.7782 | 17584.0827 | 17238.4246 | 16892.7664 | 16547.1455 | 16201.5432 | 15855.9596 | 15510.3946
E, [€, MWh] | 29285.6512 | 29285.6512 | 32915.7574 | 31651.9325 | 30236.2782 | 26498.2364 | 25641.0429 | 24783.794 | 23926.4714 | 23069.075 | 22211.5863 | 21869.0152 | 21526.4625 | 21183.9098 | 20841.3572 | 20498.8414 | 20156.3256 | 19813.8099 | 19471.331 | 19128.8522 | 18786.3918 | 18443.9498 | 18101.5263 | 17759.1212 | 17416.7162 | 17074.348 | 16731.9799 | 16389.6486 | 16047.3358 | 15705.0414 | 15362.7655