## Scenarios
numScenarios | 3 | 35% | 55% | 10%

## Conversion rate
Value, [$/€]
Conversion rate | 108.19 | 1.0819

## Cost breakdown NREL
Component | Cost, [$/kWh]
Li-Ion Battery cabinet | 270.22
Interconnection fee | 5.69
EPC/developer net profit | 20.94
EPC overhead | 11.73
Electrical BoS | 44.84
Developer overhead | 23.09
Contingency | 10.95
Battery central inverter | 24.38
Note on B1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 60 MW, 140 MWh

## Investment Cost NREL, USD
Total Cost (4-h System), [$/KWh] | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low Scenario | 1587.252 | 1587.252 | 1784 | 1283.409 | 1211.369 | 1149.738 | 1100.936 | 1052.134 | 1003.332 | 954.528 | 905.742 | 889.861 | 873.98 | 858.084 | 842.204 | 826.34 | 810.443 | 794.563 | 778.682 | 762.802 | 746.905 | 731.025 | 715.161 | 699.281 | 683.384 | 667.503 | 651.623 | 635.742 | 619.845 | 603.965 | 588.102
Mid Scenario | 1587.252 | 1587.252 | 1784 | 1715.502 | 1638.775 | 1436.177 | 1389.718 | 1343.256 | 1296.79 | 1250.32 | 1203.845 | 1185.278 | 1166.712 | 1148.146 | 1129.58 | 1111.016 | 1092.452 | 1073.888 | 1055.326 | 1036.764 | 1018.203 | 999.643 | 981.084 | 962.526 | 943.968 | 925.412 | 906.856 | 888.302 | 869.749 | 851.197 | 832.646
High Scenario | 1587.252 | 1587.252 | 1784 | 1850.08 | 1863.288 | 1836.851 | 1768.061 | 1699.272 | 1630.484 | 1561.697 | 1492.911 | 1482.69 | 1472.468 | 1462.246 | 1452.025 | 1441.803 | 1431.581 | 1421.36 | 1411.138 | 1400.917 | 1390.695 | 1380.473 | 1370.252 | 1360.03 | 1349.808 | 1339.587 | 1329.365 | 1319.143 | 1308.922 | 1298.7 | 1288.478

## Investment Cost NREL, EUR
Total Cost (4-h System), [€/KWh] | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low Scenario | 14.671 | 14.671 | 16.4895 | 11.8625 | 11.1967 | 10.627 | 10.1759 | 9.7249 | 9.2738 | 8.8227 | 8.3718 | 8.225 | 8.0782 | 7.9313 | 7.7845 | 7.6379 | 7.4909 | 7.3441 | 7.1974 | 7.0506 | 6.9036 | 6.7569 | 6.6102 | 6.4635 | 6.3165 | 6.1697 | 6.023 | 5.8762 | 5.7292 | 5.5824 | 5.4358
Mid Scenario | 14.671 | 14.671 | 16.4895 | 15.8564 | 15.1472 | 13.2746 | 12.8452 | 12.4157 | 11.9862 | 11.5567 | 11.1271 | 10.9555 | 10.7839 | 10.6123 | 10.4407 | 10.2691 | 10.0975 | 9.9259 | 9.7544 | 9.5828 | 9.4112 | 9.2397 | 9.0682 | 8.8966 | 8.7251 | 8.5536 | 8.3821 | 8.2106 | 8.0391 | 7.8676 | 7.6961
High Scenario | 14.671 | 14.671 | 16.4895 | 17.1003 | 17.2224 | 16.978 | 16.3422 | 15.7064 | 15.0706 | 14.4348 | 13.799 | 13.7045 | 13.61 | 13.5155 | 13.4211 | 13.3266 | 13.2321 | 13.1376 | 13.0431 | 12.9487 | 12.8542 | 12.7597 | 12.6652 | 12.5708 | 12.4763 | 12.3818 | 12.2873 | 12.1928 | 12.0984 | 12.0039 | 11.9094

## Investment Cost, Power
S, [€/MVA] | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054
Scenario 1 | 2956.7073 | 2956.7073 | 3323.2063 | 2390.7135 | 2256.5185 | 2141.7133 | 2050.8057 | 1959.8981 | 1868.9906 | 1778.0793 | 1687.2015 | 1657.6186 | 1628.0358 | 1598.425 | 1568.8439 | 1539.2927 | 1509.6801 | 1480.0991 | 1450.5162 | 1420.9352 | 1391.3225 | 1361.7415 | 1332.1903 | 1302.6093 | 1272.9966 | 1243.4138 | 1213.8328 | 1184.2499 | 1154.6372 | 1125.0562 | 1095.5069 | 109550.6863 | 109550.6863 | 109550.6863 | 109550.6863
Scenario 2 | 2956.7073 | 2956.7073 | 3323.2063 | 3195.6093 | 3052.6835 | 2675.2872 | 2588.7441 | 2502.1955 | 2415.6394 | 2329.0758 | 2242.5029 | 2207.9166 | 2173.3322 | 2138.7477 | 2104.1633 | 2069.5826 | 2035.0019 | 2000.4211 | 1965.8441 | 1931.2672 | 1896.692 | 1862.1188 | 1827.5474 | 1792.9778 | 1758.4083 | 1723.8425 | 1689.2766 | 1654.7146 | 1620.1543 | 1585.596 | 1551.0395 | 155103.9458 | 155103.9458 | 155103.9458 | 155103.9458
Scenario 3 | 2956.7073 | 2956.7073 | 3323.2063 | 3446.299 | 3470.9027 | 3421.6562 | 3293.5153 | 3165.3763 | 3037.2391 | 2909.1038 | 2780.9704 | 2761.9309 | 2742.8895 | 2723.8481 | 2704.8086 | 2685.7672 | 2666.7259 | 2647.6863 | 2628.645 | 2609.6055 | 2590.5641 | 2571.5227 | 2552.4832 | 2533.4418 | 2514.4004 | 2495.3609 | 2476.3196 | 2457.2782 | 2438.2387 | 2419.1973 | 2400.1559 | 240015.5912 | 240015.5912 | 240015.5912 | 240015.5912

## Investment Cost, Energy
E, [€, MWh] | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054
Scenario 1 | 2342.8521 | 2342.8521 | 2633.2606 | 1894.3668 | 1788.0326 | 1697.0626 | 1625.0288 | 1552.995 | 1480.9611 | 1408.9243 | 1336.9141 | 1313.473 | 1290.032 | 1266.5688 | 1243.1293 | 1219.7133 | 1196.2487 | 1172.8091 | 1149.3681 | 1125.9285 | 1102.4638 | 1079.0243 | 1055.6083 | 1032.1688 | 1008.7041 | 985.2631 | 961.8235 | 938.3825 | 914.9178 | 891.4783 | 868.0638 | 86806.38 | 86806.38 | 86806.38 | 86806.38
Scenario 2 | 2342.8521 | 2342.8521 | 2633.2606 | 2532.1546 | 2418.9023 | 2119.8589 | 2051.2834 | 1982.7035 | 1914.1177 | 1845.526 | 1776.9269 | 1749.5212 | 1722.117 | 1694.7128 | 1667.3086 | 1639.9073 | 1612.5061 | 1585.1048 | 1557.7065 | 1530.3082 | 1502.9113 | 1475.516 | 1448.1221 | 1420.7297 | 1393.3373 | 1365.9478 | 1338.5584 | 1311.1719 | 1283.7869 | 1256.4033 | 1229.0212 | 122902.1242 | 122902.1242 | 122902.1242 | 122902.1242
Scenario 3 | 2342.8521 | 2342.8521 | 2633.2606 | 2730.7975 | 2750.2931 | 2711.2709 | 2609.7339 | 2508.1984 | 2406.6644 | 2305.1318 | 2203.6007 | 2188.5141 | 2173.426 | 2158.3379 | 2143.2512 | 2128.1631 | 2113.075 | 2097.9884 | 2082.9003 | 2067.8136 | 2052.7255 | 2037.6374 | 2022.5508 | 2007.4627 | 1992.3746 | 1977.2879 | 1962.1998 | 1947.1117 | 1932.0251 | 1916.937 | 1901.8488 | 190184.8844 | 190184.8844 | 190184.8844 | 190184.8844