## Scenarios
numScenarios | 3 | 35% | 55% | 10%

## Conversion rate
Value, [$/€]
Conversion rate | 1.0819

## Cost breakdown NREL
Component | Cost, [$/kWh]
Li-Ion Battery cabinet | 270.22
Interconnection fee | 5.69
EPC/developer net profit | 20.94
EPC overhead | 11.73
Electrical BoS | 44.84
Developer overhead | 23.09
Contingency | 10.95
Battery central inverter | 24.38
Note on B1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 60 MW, 140 MWh

## Investment Cost NREL, USD
Total Cost (4-h System), [$/KWh] | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low Scenario | 1587.252 | 1587.252 | 1784 | 1283.409 | 1211.369 | 1149.738 | 1100.936 | 1052.134 | 1003.332 | 954.528 | 905.742 | 889.861 | 873.98 | 858.084 | 842.204 | 826.34 | 810.443 | 794.563 | 778.682 | 762.802 | 746.905 | 731.025 | 715.161 | 699.281 | 683.384 | 667.503 | 651.623 | 635.742 | 619.845 | 603.965 | 588.102
Mid Scenario | 1587.252 | 1587.252 | 1784 | 1715.502 | 1638.775 | 1436.177 | 1389.718 | 1343.256 | 1296.79 | 1250.32 | 1203.845 | 1185.278 | 1166.712 | 1148.146 | 1129.58 | 1111.016 | 1092.452 | 1073.888 | 1055.326 | 1036.764 | 1018.203 | 999.643 | 981.084 | 962.526 | 943.968 | 925.412 | 906.856 | 888.302 | 869.749 | 851.197 | 832.646
High Scenario | 1587.252 | 1587.252 | 1784 | 1850.08 | 1863.288 | 1836.851 | 1768.061 | 1699.272 | 1630.484 | 1561.697 | 1492.911 | 1482.69 | 1472.468 | 1462.246 | 1452.025 | 1441.803 | 1431.581 | 1421.36 | 1411.138 | 1400.917 | 1390.695 | 1380.473 | 1370.252 | 1360.03 | 1349.808 | 1339.587 | 1329.365 | 1319.143 | 1308.922 | 1298.7 | 1288.478

## Investment Cost NREL, EUR
Total Cost (4-h System), [€/KWh] | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low Scenario | 1467.0968 | 1467.0968 | 1648.9509 | 1186.2547 | 1119.6682 | 1062.7027 | 1017.595 | 972.4873 | 927.3796 | 882.2701 | 837.1772 | 822.4984 | 807.8196 | 793.1269 | 778.449 | 763.7859 | 749.0923 | 734.4145 | 719.7357 | 705.0578 | 690.3642 | 675.6863 | 661.0232 | 646.3453 | 631.6517 | 616.9729 | 602.295 | 587.6162 | 572.9226 | 558.2448 | 543.5826
Mid Scenario | 1467.0968 | 1467.0968 | 1648.9509 | 1585.6382 | 1514.7195 | 1327.4582 | 1284.5161 | 1241.5713 | 1198.6228 | 1155.6706 | 1112.7137 | 1095.5523 | 1078.3917 | 1061.2312 | 1044.0706 | 1026.9119 | 1009.7532 | 992.5945 | 975.4377 | 958.2808 | 941.1249 | 923.9699 | 906.8158 | 889.6626 | 872.5095 | 855.3582 | 838.2069 | 821.0574 | 803.9089 | 786.7613 | 769.6146
High Scenario | 1467.0968 | 1467.0968 | 1648.9509 | 1710.0287 | 1722.2368 | 1697.8011 | 1634.2185 | 1570.6368 | 1507.0561 | 1443.4763 | 1379.8974 | 1370.4501 | 1361.0019 | 1351.5537 | 1342.1065 | 1332.6583 | 1323.2101 | 1313.7628 | 1304.3146 | 1294.8674 | 1285.4192 | 1275.971 | 1266.5237 | 1257.0755 | 1247.6273 | 1238.1801 | 1228.7319 | 1219.2837 | 1209.8364 | 1200.3882 | 1190.94

## Investment Cost, Power
S, [€/MVA] | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054
Scenario 1 | 295670.7271 | 295670.7271 | 332320.6253 | 239071.3461 | 225651.8518 | 214171.3291 | 205080.5717 | 195989.8144 | 186899.057 | 177807.927 | 168720.1501 | 165761.8632 | 162803.5763 | 159842.4952 | 156884.3946 | 153929.2744 | 150968.007 | 148009.9064 | 145051.6195 | 142093.5189 | 139132.2515 | 136174.1509 | 133219.0307 | 130260.93 | 127299.6627 | 124341.3758 | 121383.2751 | 118424.9882 | 115463.7209 | 112505.6202 | 109550.6863 | 109550.6863 | 109550.6863 | 109550.6863 | 109550.6863
Scenario 2 | 295670.7271 | 295670.7271 | 332320.6253 | 319560.929 | 305268.348 | 267528.7213 | 258874.4141 | 250219.5481 | 241563.9371 | 232907.5809 | 224250.2933 | 220791.6626 | 217333.2183 | 213874.7739 | 210416.3296 | 206958.2578 | 203500.186 | 200042.1142 | 196584.4149 | 193126.7157 | 189669.2027 | 186211.876 | 182754.7356 | 179297.7815 | 175840.8274 | 172384.2458 | 168927.6642 | 165471.4552 | 162015.4325 | 158559.596 | 155103.9458 | 155103.9458 | 155103.9458 | 155103.9458 | 155103.9458
Scenario 3 | 295670.7271 | 295670.7271 | 332320.6253 | 344629.9005 | 347090.2653 | 342165.6238 | 329351.5343 | 316537.631 | 303723.9139 | 290910.3832 | 278097.0387 | 276193.0874 | 274288.9498 | 272384.8123 | 270480.861 | 268576.7234 | 266672.5858 | 264768.6345 | 262864.497 | 260960.5457 | 259056.4081 | 257152.2705 | 255248.3192 | 253344.1816 | 251440.0441 | 249536.0928 | 247631.9552 | 245727.8176 | 243823.8663 | 241919.7288 | 240015.5912 | 240015.5912 | 240015.5912 | 240015.5912 | 240015.5912

## Investment Cost, Energy
E, [€, MWh] | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054
Scenario 1 | 234285.2094 | 234285.2094 | 263326.0589 | 189436.6782 | 178803.2649 | 169706.2647 | 162502.88 | 155299.4953 | 148096.1106 | 140892.4307 | 133691.4076 | 131347.3039 | 129003.2001 | 126656.8822 | 124312.9261 | 121971.3316 | 119624.8661 | 117280.9099 | 114936.8062 | 112592.85 | 110246.3845 | 107902.4284 | 105560.8338 | 103216.8777 | 100870.4122 | 98526.3084 | 96182.3523 | 93838.2485 | 91491.783 | 89147.8269 | 86806.38 | 86806.38 | 86806.38 | 86806.38 | 86806.38
Scenario 2 | 234285.2094 | 234285.2094 | 263326.0589 | 253215.46 | 241890.2254 | 211985.8908 | 205128.343 | 198270.3523 | 191411.7712 | 184552.5997 | 177692.6902 | 174952.1213 | 172211.7 | 169471.2787 | 166730.8574 | 163990.7313 | 161250.6052 | 158510.4791 | 155770.6482 | 153030.8173 | 150291.134 | 147551.5984 | 144812.2103 | 142072.9698 | 139333.7293 | 136594.7841 | 133855.8388 | 131117.1888 | 128378.6863 | 125640.3315 | 122902.1242 | 122902.1242 | 122902.1242 | 122902.1242 | 122902.1242
Scenario 3 | 234285.2094 | 234285.2094 | 263326.0589 | 273079.7506 | 275029.3081 | 271127.0934 | 260973.394 | 250819.8423 | 240666.4382 | 230513.1817 | 220360.0728 | 218851.4093 | 217342.5982 | 215833.7872 | 214325.1237 | 212816.3126 | 211307.5015 | 209798.838 | 208290.0269 | 206781.3635 | 205272.5524 | 203763.7413 | 202255.0778 | 200746.2667 | 199237.4556 | 197728.7922 | 196219.9811 | 194711.17 | 193202.5065 | 191693.6954 | 190184.8844 | 190184.8844 | 190184.8844 | 190184.8844 | 190184.8844