## Scenarios
numScenarios | 3 | 33.33% | 33.33% | 33.33%

## Investment Cost NREL
Total Cost (4-h System), [$/KWh] | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low Scenario | 1587.252 | 1587.252 | 1784 | 1283.409 | 1211.369 | 1149.738 | 1100.936 | 1052.134 | 1003.332 | 954.528 | 905.742 | 889.861 | 873.98 | 858.084 | 842.204 | 826.34 | 810.443 | 794.563 | 778.682 | 762.802 | 746.905 | 731.025 | 715.161 | 699.281 | 683.384 | 667.503 | 651.623 | 635.742 | 619.845 | 603.965 | 588.102
Mid Scenario | 1587.252 | 1587.252 | 1784 | 1715.502 | 1638.775 | 1436.177 | 1389.718 | 1343.256 | 1296.79 | 1250.32 | 1203.845 | 1185.278 | 1166.712 | 1148.146 | 1129.58 | 1111.016 | 1092.452 | 1073.888 | 1055.326 | 1036.764 | 1018.203 | 999.643 | 981.084 | 962.526 | 943.968 | 925.412 | 906.856 | 888.302 | 869.749 | 851.197 | 832.646
High Scenario | 1587.252 | 1587.252 | 1784 | 1850.08 | 1863.288 | 1836.851 | 1768.061 | 1699.272 | 1630.484 | 1561.697 | 1492.911 | 1482.69 | 1472.468 | 1462.246 | 1452.025 | 1441.803 | 1431.581 | 1421.36 | 1411.138 | 1400.917 | 1390.695 | 1380.473 | 1370.252 | 1360.03 | 1349.808 | 1339.587 | 1329.365 | 1319.143 | 1308.922 | 1298.7 | 1288.478

## Cost breakdown NREL
Component | Cost, [$/kWh]
Li-Ion Battery cabinet | 270.22
Interconnection fee | 5.69
EPC/developer net profit | 20.94
EPC overhead | 11.73
Electrical BoS | 44.84
Developer overhead | 23.09
Contingency | 10.95
Battery central inverter | 24.38
Note on B1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 60 MW, 140 MWh

## Investment Cost
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055
S, [$/MVA] | 319886.1597 | 319886.1597 | 359537.6845 | 345732.9691 | 330269.8257 | 289439.3235 | 280076.2286 | 270712.5291 | 261348.0235 | 251982.7117 | 242616.3923 | 238874.4998 | 235132.8089 | 231391.1179 | 227649.427 | 223908.1391 | 220166.8512 | 216425.5633 | 212684.6785 | 208943.7937 | 205203.1104 | 201462.6287 | 197722.3485 | 193982.2698 | 190242.1911 | 186502.5155 | 182762.8399 | 179023.5674 | 175284.4964 | 171545.6269 | 167806.959 | 167806.959 | 167806.959 | 167806.959 | 167806.959 | 167806.959
E, [$, MWh] | 1267365.8403 | 1267365.8403 | 1424462.3155 | 1369769.0309 | 1308505.1743 | 1146737.6765 | 1109641.7714 | 1072543.4709 | 1035441.9765 | 998337.2883 | 961228.6077 | 946403.5002 | 931579.1911 | 916754.8821 | 901930.573 | 887107.8609 | 872285.1488 | 857462.4367 | 842641.3215 | 827820.2063 | 812999.8896 | 798180.3713 | 783361.6515 | 768543.7302 | 753725.8089 | 738909.4845 | 724093.1601 | 709278.4326 | 694464.5036 | 679651.3731 | 664839.041 | 664839.041 | 664839.041 | 664839.041 | 664839.041 | 664839.041